Annex-A

Reclamation / Repair of 1000 KVA 11000 / 415 V Power Transformer

| S. #. | Scope of Work Complete repair work with installation, testing & commissioning, including; 1.Change Of all 3 Legs Winding (HT&LT) 2.New Oil Filling 3.Change of All 3 Seals 4.Replacement of Tapping Switch 5.Ovening 6.Transformer Testing 7. Paint 8.Transportation (Complete in all respects). 9. Any other repair work | Unit No | Qty 1 | Rate inclusive of taxes | Amount inclusive of taxes |
| --- | --- | --- | --- | --- | --- |
|  | Total |  |  |  |  |

TERMS & CONDITIONS

1. Completion of required Work is 15 days from the issuance of Work Order.

- Warranty period should be provided minimum 1 Year.

- Minimum 5 Years’ Experience in relevant work is required

- Purchase Orders/Work Orders of similar nature should be attached in Company Profile

- Defect liability period shall be 90 days from effective date of Taking over certificate.

5.	You are required to deliver the items at the specified time. However, after failing to do so, GIK reserves the right to forfeit an amount of 0.1% of the contract price per day and up to 10% of the cost of the project.

6.	In case of any dispute, the decision of the Rector will be final and binding on you.

7.	The rate must be quoted as per the above format including all taxes, otherwise your quotation will be rejected / declared as non-responsive.

6.	The firm must quote price of all items, partial apply / bid is not accepted.